| CUSTOMER TO PROVIDE | BASTROP COUNTY REQUIREMENTS |
| --- | --- |
| Driveway throat width | 12’ min – 24’ max |
| Turn Radius | Curbed Street: Min. 5’ – Max 15’ Uncurbed Street: Min 10’ – Max 15’ |
| Distance from Property Line to start of Driveway | No part of the driveway or culvert may encroach on any adjacent property within the County’s ROW |
| Driveway surface material | Must be all weather material to reduce tracking mud on county roadway & prevent damage to edge of pavement. Examples: Concrete, asphalt, chip seal, flex base, etc. |
| Culvert material | CMP (Corrugated Metal Pipe) or RCP (Reinforced Concrete Pipe) |
| Culvert diameter | Minimum 15” Arched (design) culvert acceptable to reduce culvert height |
| Distance from edge of pavement to culvert | Used to determine if in clear zone |